## Form V8
Flood Risk Assessment (FRA) Checklist |  |  |  |  | (SS-NFR-F-001 - Version 14 - Last updated 28/05/2019
This document must be attached within the front cover of any Flood Risk Assessments issued to Local Planning Authorities (LPA) in support of a development proposal which may be at risk of flooding. The document will take only a few minutes to complete and will assist SEPA in reviewing FRAs, when consulted by LPAs. This document should not be a substitute for a FRA.
Development Proposal Summary
Site Name:
Grid Reference: | Easting: |  | Northing:
Local Authority: |  | Select from List
Planning Reference number (if known):
Nature of the development: |  | Select from List |  | If residential, state type:
Size of the development site: |  |  | Ha
Identified Flood Risk: | Source: | Select from List |  | Source name:
Land Use Planning
Is any of the site within the functional floodplain? (refer to SPP para 255) |  | Select from List |  |  | If yes, what is the net loss of storage? |  | m3
Is the site identified within the local development plan? |  | Select from List |  | Local Development Plan Name: |  | Year of Publication:
Allocation Number / Reference:
If yes, what is the proposed use for the site as identified in the local plan? |  | Select from List |  | If Other please specify:
Does the local development plan and/or any pre-application advice, identify any flood risk issues with or requirements for the site. |  | Select from List |  | If so, please specify:
What is the proposed land use vulnerability? |  | Select from List |  | Do the proposals represent an increase in land use vulnerability? |  | Select from List
Supporting Information
Have clear maps / plans been provided within the FRA (including topographic and flood inundation plans)? |  | Select from List
Has sufficient supporting information, in line with our Technical Guidance, been provided? For example: site plans, photos, topographic information, structure information and other site specific information. |  | Select from List
Has a historic flood search been undertaken? |  | Select from List |  | If flood records in vicinity of the site please provide details:
Is a formal flood prevention scheme present? |  | Select from List |  | If known, state the standard of protection offered:
Current / historical site use:
Is the site considered vacant or derelict? |  | Select from List
Development Requirements
Freeboard on design water level: |  |  | m
Is safe / dry access and egress available? |  | Select from List |  |  | Min access/egress level: |  | m AOD
Design levels: | Ground level: |  | m AOD |  | Min FFL: |  | mAOD
Mitigation
Can development be designed to avoid all areas at risk of flooding? |  | Select from List
Is mitigation proposed? |  | Select from List
If yes, is compenstory storage necessary? |  | Select from List
Demonstration of compensatory storage on a "like for like" basis? |  | Select from List
Should water resistant materials and forms of construction be used? |  | Select from List
PAGE 1 of 2
Flood Risk Assessment (FRA) Checklist |  |  |  |  | (SS-NFR-F-001 - Version 14 - Last updated 28/05/2019
Hydrology
Is there a requirement to consider fluvial flooding? |  | Select from List
Area of catchment: |  |  | km2 |  |  | Is a map of catchment area included in FRA? | Select from List
Estimation method(s) used (please select all that apply): |  | Pooled Analysis | FALSE |  |  | If Pooled analysis have group details been included? | Select from List
|  | Single Site Analysis | FALSE
|  | Enhanced Single Site | FALSE
|  | ReFH2 | FALSE
|  | FEH RRM | FALSE
|  | Other | FALSE |  |  | If other (please specify methodology used):
Estimate of 200 year design flood flow: |  |  | m3/s
Qmed estimate: |  |  | m3/s |  |  | Method: | Select from List
Statistical Distribution Selected: |  | Select from List |  |  |  | Reasons for selection:
Hydraulics
Hydraulic modelling method: |  | Select from List |  | Software used: | Select from List
If other please specify:
Number of cross sections:
Source of data (i.e. topographic survey, LiDAR etc): |  |  |  | Date obtained / surveyed:
Modelled reach length: |  |  | m
Any changes to default simulation parameters? |  |  |  | If yes please provide details:
Model timestep:
Model grid size:
Any structures within the modelled length? |  | Select from List |  | Specify, if combination:
Maximum observed velocity: |  |  | m/s
Brief summary of sensitivity tests, and range:
variation on flow (%) |  |  | % |  | Please specify climate change scenario considered:
variation on channel roughness (%) |  |  | %
blockage of structure (range of % blocked) |  |  | %
boundary conditions: |  | Upstream |  |  | Downstream
(1) type |  | Flow |  |  | Select from List
| Specify if other |  |  | Specify if other:
(2) does it influence water levels at the site? |  | Select from List |  |  | Select from List
Has model been calibrated (gauge data / flood records)? |  | Select from List
Is the hydraulic model available to SEPA? |  | Select from List
Design flood levels: | 200 year |  | m AOD | 200 year plus climate change |  |  | m AOD
Cross section results provided? |  | Select from List
Long section results provided? |  | Select from List
Cross section ratings provided? |  | Select from List
Tabular output provided (i.e. levels, velocities)?
Mass balance error: |  |  | %
Coastal
Is there a requirement to consider coastal / tidal flooding? |  | Select from List
Estimate of 200 year design flood level: |  |  | m AOD
Estimation method(s) used: |  | Select from List |  |  | If other please specify methodology used:
Allowance for climate change (m): |  |  | m
Allowance for wave action etc (m): |  |  | m
Overall design flood level: |  |  | m AOD
Comments
Any additional comments:
Approved by:
Organisation:
Date:
Note: Further details and guidance is provided in 'Technical Flood Risk Guidance for Stakeholders' which can be accesssed here:- |  |  |  |  | CLICK HERE
PAGE 2 of 2
Note on B63: IS Section: Has sensitivity tests been carried out on, especially roughness, but also other critical parameters where appropriate.
Note on B67: IS Section: Confirm that boundary conditions do not significantly affect water levels at site of interest

## Lists
Supporting Info (Maps) |  | ModelMethod2
Select from List |  | Select from List
Yes |  | n/a
No |  | Manning
1D steady
HydMethod | CoastMethod | 1D dynamic
Select from List | Select from List | 2D
Pooled analysis | CFB | Linked 1D 2D
Single site analysis | POL 112
Enhanced single site analysis | Tide gauge analysis
FEH Rainfall-runoff | Existing report
REFH2 | Other
Other
ModelMethod | FloodRisk | LocalAuthority
Select from List | Select from List | Select from List
n/a | Fluvial | Aberdeen City Council
Manning | Tidal | Aberdeenshire Council
1D steady | Coastal | Angus Council
1D dynamic | Combined | Argyll and Bute Council
2D | Pluvial | Clackmannanshire Council
| Groundwater | Comhairle nan Eilan Siar (Western Isles Council)
Structures | Other | Dumfries and Galloway Council
Select from List |  | Dundee City Council
Bridges |  | East Ayrshire Council
Culvert |  | East Dunbartonshire Council
Embankment |  | East Lothian District Council
Walls |  | East Renfrewshire Council
Weir |  | Edinburgh City Council
Combination |  | Falkirk Council
| Model | Fife Council
Boundary Condition | Select from List | Glasgow City Council
Select from List | New | Highland Council
D/s confluence | Existing | Inverclyde Council
Lake/Pond |  | Midlothian Council
Normal depth |  | Moray Council
Tidal |  | North Ayrshire Council
Weir |  | North Lanarkshire Council
Other |  | Orkney Islands Council
| RiskLevel | Perth and Kinross Council
Software | Select from List | Renfrewshire Council
Select from List | little or no | Scottish Borders Council
HEC-RAS | low to medium | Shetland Islands Council
InfoWorks (CS, RS or ICM) | medium to high | South Ayrshire Council
Flood Modeller |  | South Lanarkshire Council
MIKE 11 |  | Stirling Council
TuFlow |  | West Dunbartonshire Council
Other |  | West Lothian Council
QMEDMethod
Field | Select from List
Select from List | Gauged Record
Brownfield | Catchment Descriptors
Greenfield | Donor Transfer
Other
Development | N/A | Egress
Select from List |  | Select from List
Residential | Access | Vehicular Only
Commercial | Select from List | Pedestrian Only
Recreational | Vehicular Only | Vehicular and Pedestrian
Mixed Use | Pedestrian Only | Neither
Hospital | Vehicular and Pedestrian
School
Infrastructure | Statistical Method | Vulnerability
Flood Prevention Scheme | Select from List | Select from List
SUDS | Generalised Logistic | Water Compatible
Utility Infrastructure | Generalised Extreme Value | Essential Infrastructure
Other | Gumbel | Least Vulnerable
| 3-Parameter Lognormal | Highly Vulnerable
| Pearson Type III | Most Vulnerable
Generalised Pareto
N/A